## home
Home
Jelgava: Atmodas / Astera pareja
Plan | 004 -
Timingset | 4
Time | 2025-11-04 12:24
Alarms | VA
Stream 1
State | CONTROL
Cycle | 34 (0)
Mode (Stage) | VA (1)

## logbooks
Program
Filter: Visi
1 | 20250912:033312 X1-S6:CONTROL
2 | 20250912:033301 X1-S5:ALL RED
3 | 20250912:033257 X1-S4:SWITCH ON
4 | 20250912:033242 X1-S3:FLASH
5 | 20250912:033242 X1-S2:FLASH
6 | 20250912:033242 X1-S1:LAMPS OFF
7 | 20250912:033240 X1-S0:LAMPS OFF
8 | 20250912:033239 000:POWERFAIL
9 | 20250607:175205 X1-S6:CONTROL
10 | 20250607:175154 X1-S5:ALL RED
11 | 20250607:175150 X1-S4:SWITCH ON
12 | 20250607:175135 X1-S3:FLASH
13 | 20250607:175135 X1-S2:FLASH
14 | 20250607:175135 X1-S1:LAMPS OFF
15 | 20250607:175133 X1-S0:LAMPS OFF
16 | 20250607:175133 001:MAINS LOW
17 | 20250607:175120 X1-S3:FLASH
18 | 20250607:175120 X1-S2:FLASH
19 | 20250607:175119 X1-S1:LAMPS OFF
20 | 20250607:175117 X1-S0:LAMPS OFF
21 | 20250607:175117 001:MAINS LOW
22 | 20250607:175104 X1-S3:FLASH
23 | 20250607:175104 X1-S2:FLASH
24 | 20250607:175104 X1-S1:LAMPS OFF
25 | 20250607:175102 X1-S0:LAMPS OFF
26 | 20250607:175102 001:MAINS LOW
27 | 20250607:174835 X1-S6:CONTROL
28 | 20250607:174824 X1-S5:ALL RED
29 | 20250607:174820 X1-S4:SWITCH ON
30 | 20250607:174805 X1-S3:FLASH
31 | 20250607:174805 X1-S2:FLASH
32 | 20250607:174805 X1-S1:LAMPS OFF
33 | 20250607:174803 X1-S0:LAMPS OFF
34 | 20250607:174802 001:MAINS LOW
35 | 20250607:174800 X1-S4:SWITCH ON
36 | 20250607:174745 X1-S3:FLASH
37 | 20250607:174745 X1-S2:FLASH
38 | 20250607:174744 X1-S1:LAMPS OFF
39 | 20250607:174742 X1-S0:LAMPS OFF
40 | 20250607:174742 001:MAINS LOW
41 | 20250523:225743 MMI840-1 OK
42 | 20250523:225708 MMI840-1 ERR
43 | 20250523:225544 MMI840-1 OK
44 | 20250523:225511 MMI840-1 ERR
45 | 20250523:225407 MMI840-1 OK
46 | 20250523:225351 X1-S6:CONTROL
47 | 20250523:225340 X1-S5:ALL RED
48 | 20250523:225336 X1-S4:SWITCH ON
49 | 20250523:225321 X1-S3:FLASH
50 | 20250523:225321 X1-S2:FLASH
51 | 20250523:225320 X1-S1:LAMPS OFF
52 | 20250523:225317 MMI840-1 ERR
53 | 20250523:225315 X1-VA
54 | 20250523:225315 238:DOOR CLOSED
55 | 20250523:225302 PLAN 4
56 | 20250523:225302 238:DOOR OPEN
57 | 20250523:225302 247:PROGRAM 1
58 | 20250523:225302 253:MAINS ON
59 | 20250518:185643 011:MAINS SYNC
60 | 20250518:185642 X1-S0:LAMPS OFF
61 | 20250518:185642 000:POWERFAIL
62 | 20250415:161229 X1-S6:CONTROL
63 | 20250415:161218 X1-S5:ALL RED
64 | 20250415:161214 X1-S4:SWITCH ON
65 | 20250415:161159 X1-S3:FLASH
66 | 20250415:161159 X1-S2:FLASH
67 | 20250415:161158 X1-S1:LAMPS OFF
68 | 20250415:161154 X1-VA
69 | 20250415:161153 238:DOOR CLOSED
70 | 20250415:161142 PLAN 4
71 | 20250415:161142 238:DOOR OPEN
72 | 20250415:161142 247:PROGRAM 1
73 | 20250415:161142 253:MAINS ON
74 | 20250415:160404 011:MAINS SYNC
75 | 20250415:160404 X1-S0:LAMPS OFF
76 | 20250415:160403 000:POWERFAIL
77 | 20250329:121829 X1-S6:CONTROL
78 | 20250329:121818 X1-S5:ALL RED
79 | 20250329:121814 X1-S4:SWITCH ON
80 | 20250329:121759 X1-S3:FLASH
81 | 20250329:121759 X1-S2:FLASH
82 | 20250329:121758 X1-S1:LAMPS OFF
83 | 20250329:121753 X1-VA
84 | 20250329:121753 238:DOOR CLOSED
85 | 20250329:121742 PLAN 4
86 | 20250329:121742 238:DOOR OPEN
87 | 20250329:121742 247:PROGRAM 1
88 | 20250329:121742 253:MAINS ON
89 | 20250329:120215 011:MAINS SYNC
90 | 20250329:120215 X1-S0:LAMPS OFF
91 | 20250329:120215 000:POWERFAIL
92 | 20250307:191308 PLAN 4
93 | 20250307:191033 DET. PB10 ----
94 | 20250307:191030 DET. PB10 ---S
95 | 20250307:184143 DET. PB10 ----
96 | 20250307:184040 DET. PB10 ---S
97 | 20250307:184032 PLAN 3
98 | 20250307:183756 DET. PB10 ----
99 | 20250307:183749 DET. PB10 ---S
100 | 20250307:183734 DET. PB10 ----
101 | 20250307:183731 DET. PB10 ---S
102 | 20250307:183644 DET. PB10 ----
103 | 20250307:183641 DET. PB10 ---S
104 | 20250307:183529 DET. PB10 ----
105 | 20250307:183154 DET. PB10 ---S
106 | 20250307:183134 X1-S6:CONTROL
107 | 20250307:183123 X1-S5:ALL RED
108 | 20250307:183119 X1-S4:SWITCH ON
109 | 20250307:183104 X1-S3:FLASH
110 | 20250307:183104 X1-S2:FLASH
111 | 20250307:183103 X1-S1:LAMPS OFF
112 | 20250307:183100 202:RESET ALARMS
113 | 20250307:183100 213:AUTO-RESET
114 | 20250307:183013 X1-VA
115 | 20250307:183013 238:DOOR CLOSED
116 | 20250307:183001 255:FATAL ALARM
117 | 20250307:183001 014:CPU-B COM CPU-A
118 | 20250307:183001 013:CPU-B LOC-LOC
119 | 20250307:183001 007:CPU-B LOT SLOW
120 | 20250307:183001 006:CPU-B LCM DIAG
121 | 20250307:183001 000:POWERFAIL
122 | 20250307:183001 PLAN 4
123 | 20250307:183001 238:DOOR OPEN
124 | 20250307:183001 247:PROGRAM 1
125 | 20250307:183001 253:MAINS ON
126 | 20250305:092521 X1-S6:CONTROL
127 | 20250305:092510 X1-S5:ALL RED
128 | 20250305:092506 X1-S4:SWITCH ON
129 | 20250305:092451 X1-S3:FLASH
130 | 20250305:092451 X1-S2:FLASH
131 | 20250305:092450 X1-S1:LAMPS OFF
132 | 20250305:092448 X1-S0:LAMPS OFF
133 | 20250305:092448 000:POWERFAIL
134 | 20250228:222013 X1-S6:CONTROL
135 | 20250228:222002 X1-S5:ALL RED
136 | 20250228:221958 X1-S4:SWITCH ON
137 | 20250228:221943 X1-S3:FLASH
138 | 20250228:221943 X1-S2:FLASH
139 | 20250228:221943 X1-S1:LAMPS OFF
140 | 20250228:221941 X1-S0:LAMPS OFF
141 | 20250228:221940 000:POWERFAIL
142 | 20250228:192858 X1-S6:CONTROL
143 | 20250228:192847 X1-S5:ALL RED
144 | 20250228:192843 X1-S4:SWITCH ON
145 | 20250228:192828 X1-S3:FLASH
146 | 20250228:192828 X1-S2:FLASH
147 | 20250228:192827 X1-S1:LAMPS OFF
148 | 20250228:192825 000:POWERFAIL
149 | 20250228:192825 X1-S0:LAMPS OFF
150 | 20250228:192824 X1-S1:LAMPS OFF
151 | 20250228:192822 000:POWERFAIL
152 | 20250228:192822 X1-S0:LAMPS OFF
153 | 20250228:192821 X1-S1:LAMPS OFF
154 | 20250228:192819 X1-S0:LAMPS OFF
155 | 20250228:192819 000:POWERFAIL
156 | 20241218:100121 X1-S6:CONTROL
157 | 20241218:100110 X1-S5:ALL RED
158 | 20241218:100106 X1-S4:SWITCH ON
159 | 20241218:100051 X1-S3:FLASH
160 | 20241218:100051 X1-S2:FLASH
161 | 20241218:100051 X1-S1:LAMPS OFF
162 | 20241218:100049 X1-S0:LAMPS OFF
163 | 20241218:100049 001:MAINS LOW
164 | 20241216:072818 X1-S6:CONTROL
165 | 20241216:072807 X1-S5:ALL RED
166 | 20241216:072803 X1-S4:SWITCH ON
167 | 20241216:072748 X1-S3:FLASH
168 | 20241216:072748 X1-S2:FLASH
169 | 20241216:072747 X1-S1:LAMPS OFF
170 | 20241216:072745 X1-S0:LAMPS OFF
171 | 20241216:072745 000:POWERFAIL
172 | 20241206:085814 DET. PB10 ----
173 | 20241206:085519 DET. PB10 ---S
174 | 20241107:093943 X1-S6:CONTROL
175 | 20241107:093932 X1-S5:ALL RED
176 | 20241107:093928 X1-S4:SWITCH ON
177 | 20241107:093913 X1-S3:FLASH
178 | 20241107:093913 X1-S2:FLASH
179 | 20241107:093912 X1-S1:LAMPS OFF
180 | 20241107:093907 X1-VA
181 | 20241107:093907 238:DOOR CLOSED
182 | 20241107:093855 PLAN 4
183 | 20241107:093855 238:DOOR OPEN
184 | 20241107:093855 247:PROGRAM 1
185 | 20241107:093855 253:MAINS ON
186 | 20241107:093531 011:MAINS SYNC
187 | 20241107:093531 X1-S0:LAMPS OFF
188 | 20241107:093531 000:POWERFAIL
189 | 20241009:191218 X1-S6:CONTROL
190 | 20241009:191207 X1-S5:ALL RED
191 | 20241009:191203 X1-S4:SWITCH ON
192 | 20241009:191148 X1-S3:FLASH
193 | 20241009:191148 X1-S2:FLASH
194 | 20241009:191147 X1-S1:LAMPS OFF
195 | 20241009:191145 X1-S0:LAMPS OFF
196 | 20241009:191144 000:POWERFAIL
197 | 20240816:211228 X1-S6:CONTROL
198 | 20240816:211217 X1-S5:ALL RED
199 | 20240816:211213 X1-S4:SWITCH ON
200 | 20240816:211158 X1-S3:FLASH
201 | 20240816:211158 X1-S2:FLASH
202 | 20240816:211156 X1-S1:LAMPS OFF
203 | 20240816:211154 X1-S0:LAMPS OFF
204 | 20240816:211154 000:POWERFAIL
205 | 20240816:211141 X1-S3:FLASH
206 | 20240816:211141 X1-S2:FLASH
207 | 20240816:211140 X1-S1:LAMPS OFF
208 | 20240816:211138 X1-S0:LAMPS OFF
209 | 20240816:211138 001:MAINS LOW
210 | 20240805:204806 X1-S6:CONTROL
211 | 20240805:204755 X1-S5:ALL RED
212 | 20240805:204751 X1-S4:SWITCH ON
213 | 20240805:204736 X1-S3:FLASH
214 | 20240805:204736 X1-S2:FLASH
215 | 20240805:204735 X1-S1:LAMPS OFF
216 | 20240805:204733 X1-S0:LAMPS OFF
217 | 20240805:204733 001:MAINS LOW
218 | 20240702:110258 X1-S6:CONTROL
219 | 20240702:110247 X1-S5:ALL RED
220 | 20240702:110243 X1-S4:SWITCH ON
221 | 20240702:110228 X1-S3:FLASH
222 | 20240702:110228 X1-S2:FLASH
223 | 20240702:110227 X1-S1:LAMPS OFF
224 | 20240702:110222 X1-VA
225 | 20240702:110221 238:DOOR CLOSED
226 | 20240702:110210 PLAN 4
227 | 20240702:110210 238:DOOR OPEN
228 | 20240702:110210 247:PROGRAM 1
229 | 20240702:110210 253:MAINS ON
230 | 20240702:105811 011:MAINS SYNC
231 | 20240702:105811 X1-S0:LAMPS OFF
232 | 20240702:105811 000:POWERFAIL
233 | 20240702:093402 X1-S6:CONTROL
234 | 20240702:093351 X1-S5:ALL RED
235 | 20240702:093347 X1-S4:SWITCH ON
236 | 20240702:093332 X1-S3:FLASH
237 | 20240702:093332 X1-S2:FLASH
238 | 20240702:093332 X1-S1:LAMPS OFF
239 | 20240702:093327 X1-VA
240 | 20240702:093326 238:DOOR CLOSED
241 | 20240702:093315 PLAN 4
242 | 20240702:093315 238:DOOR OPEN
243 | 20240702:093315 247:PROGRAM 1
244 | 20240702:093315 253:MAINS ON
245 | 20240702:092907 011:MAINS SYNC
246 | 20240702:092906 X1-S0:LAMPS OFF
247 | 20240702:092906 000:POWERFAIL
248 | 20240702:092833 X1-S6:CONTROL
249 | 20240702:092822 X1-S5:ALL RED
250 | 20240702:092818 X1-S4:SWITCH ON
251 | 20240702:092803 X1-S3:FLASH
252 | 20240702:092803 X1-S2:FLASH
253 | 20240702:092803 X1-S1:LAMPS OFF
254 | 20240702:092758 X1-VA
255 | 20240702:092757 238:DOOR CLOSED
256 | 20240702:092746 PLAN 4
257 | 20240702:092746 238:DOOR OPEN
258 | 20240702:092746 247:PROGRAM 1
259 | 20240702:092746 253:MAINS ON
260 | 20240702:090815 011:MAINS SYNC
261 | 20240702:090815 X1-S0:LAMPS OFF
262 | 20240702:090815 000:POWERFAIL
263 | 20231206:101342 X1-S6:CONTROL
264 | 20231206:101331 X1-S5:ALL RED
265 | 20231206:101327 X1-S4:SWITCH ON
266 | 20231206:101312 X1-S3:FLASH
267 | 20231206:101312 X1-S2:FLASH
268 | 20231206:101311 X1-S1:LAMPS OFF
269 | 20231206:101308 000:POWERFAIL
270 | 20231206:101308 X1-S0:LAMPS OFF
271 | 20231206:101308 X1-S1:LAMPS OFF
272 | 20231206:101305 000:POWERFAIL
273 | 20231206:101305 X1-S0:LAMPS OFF
274 | 20231206:101305 X1-S1:LAMPS OFF
275 | 20231206:101303 011:MAINS SYNC
276 | 20231206:101303 X1-S0:LAMPS OFF
277 | 20231206:101303 000:POWERFAIL
278 | 20231015:074300 X1-S6:CONTROL
279 | 20231015:074249 X1-S5:ALL RED
280 | 20231015:074245 X1-S4:SWITCH ON
281 | 20231015:074230 X1-S3:FLASH
282 | 20231015:074230 X1-S2:FLASH
283 | 20231015:074229 X1-S1:LAMPS OFF
284 | 20231015:074227 X1-S0:LAMPS OFF
285 | 20231015:074227 000:POWERFAIL
286 | 20231007:044954 X1-S6:CONTROL
287 | 20231007:044943 X1-S5:ALL RED
288 | 20231007:044939 X1-S4:SWITCH ON
289 | 20231007:044924 X1-S3:FLASH
290 | 20231007:044924 X1-S2:FLASH
291 | 20231007:044923 X1-S1:LAMPS OFF
292 | 20231007:044921 X1-S0:LAMPS OFF
293 | 20231007:044921 000:POWERFAIL
294 | 20230925:133515 X1-S6:CONTROL
295 | 20230925:133504 X1-S5:ALL RED
296 | 20230925:133500 X1-S4:SWITCH ON
297 | 20230925:133445 X1-S3:FLASH
298 | 20230925:133445 X1-S2:FLASH
299 | 20230925:133444 X1-S1:LAMPS OFF
300 | 20230925:133440 X1-VA
301 | 20230925:133439 238:DOOR CLOSED
302 | 20230925:133428 PLAN 4
303 | 20230925:133428 238:DOOR OPEN
304 | 20230925:133428 247:PROGRAM 1
305 | 20230925:133428 253:MAINS ON
306 | 20230925:133307 011:MAINS SYNC
307 | 20230925:133307 X1-S0:LAMPS OFF
308 | 20230925:133307 000:POWERFAIL
309 | 20230925:123707 X1-S6:CONTROL
310 | 20230925:123656 X1-S5:ALL RED
311 | 20230925:123652 X1-S4:SWITCH ON
312 | 20230925:123637 X1-S3:FLASH
313 | 20230925:123637 X1-S2:FLASH
314 | 20230925:123637 X1-S1:LAMPS OFF
315 | 20230925:123632 X1-VA
316 | 20230925:123631 238:DOOR CLOSED
317 | 20230925:123620 PLAN 4
318 | 20230925:123620 238:DOOR OPEN
319 | 20230925:123620 247:PROGRAM 1
320 | 20230925:123620 253:MAINS ON
321 | 20230925:123501 011:MAINS SYNC
322 | 20230925:123500 X1-S0:LAMPS OFF
323 | 20230925:123500 000:POWERFAIL
324 | 20230806:194815 X1-S6:CONTROL
325 | 20230806:194804 X1-S5:ALL RED
326 | 20230806:194800 X1-S4:SWITCH ON
327 | 20230806:194745 X1-S3:FLASH
328 | 20230806:194745 X1-S2:FLASH
329 | 20230806:194744 X1-S1:LAMPS OFF
330 | 20230806:194742 X1-S0:LAMPS OFF
331 | 20230806:194742 001:MAINS LOW
332 | 20230801:050837 X1-S6:CONTROL
333 | 20230801:050826 X1-S5:ALL RED
334 | 20230801:050822 X1-S4:SWITCH ON
335 | 20230801:050807 X1-S3:FLASH
336 | 20230801:050807 X1-S2:FLASH
337 | 20230801:050806 X1-S1:LAMPS OFF
338 | 20230801:050804 X1-S0:LAMPS OFF
339 | 20230801:050803 001:MAINS LOW
340 | 20230712:192458 X1-S6:CONTROL
341 | 20230712:192447 X1-S5:ALL RED
342 | 20230712:192443 X1-S4:SWITCH ON
343 | 20230712:192428 X1-S3:FLASH
344 | 20230712:192428 X1-S2:FLASH
345 | 20230712:192427 X1-S1:LAMPS OFF
346 | 20230712:192425 X1-S0:LAMPS OFF
347 | 20230712:192425 000:POWERFAIL
348 | 20230620:082445 X1-S6:CONTROL
349 | 20230620:082434 X1-S5:ALL RED
350 | 20230620:082430 X1-S4:SWITCH ON
351 | 20230620:082415 X1-S3:FLASH
352 | 20230620:082415 X1-S2:FLASH
353 | 20230620:082414 X1-S1:LAMPS OFF
354 | 20230620:082409 X1-VA
355 | 20230620:082409 238:DOOR CLOSED
356 | 20230620:082358 PLAN 4
357 | 20230620:082358 238:DOOR OPEN
358 | 20230620:082358 247:PROGRAM 1
359 | 20230620:082358 253:MAINS ON
360 | 20230620:082201 011:MAINS SYNC
361 | 20230620:082200 X1-S0:LAMPS OFF
362 | 20230620:082200 000:POWERFAIL
363 | 20230619:191936 X1-S6:CONTROL
364 | 20230619:191925 X1-S5:ALL RED
365 | 20230619:191921 X1-S4:SWITCH ON
366 | 20230619:191906 X1-S3:FLASH
367 | 20230619:191906 X1-S2:FLASH
368 | 20230619:191905 X1-S1:LAMPS OFF
369 | 20230619:191900 X1-VA
370 | 20230619:191900 238:DOOR CLOSED
371 | 20230619:191848 PLAN 4
372 | 20230619:191848 238:DOOR OPEN
373 | 20230619:191848 247:PROGRAM 1
374 | 20230619:191848 253:MAINS ON
375 | 20230619:191748 011:MAINS SYNC
376 | 20230619:191748 X1-S0:LAMPS OFF
377 | 20230619:191748 000:POWERFAIL
378 | 20230504:105803 X1-S6:CONTROL
379 | 20230504:105752 X1-S5:ALL RED
380 | 20230504:105748 X1-S4:SWITCH ON
381 | 20230504:105733 X1-S3:FLASH
382 | 20230504:105733 X1-S2:FLASH
383 | 20230504:105732 X1-S1:LAMPS OFF
384 | 20230504:105728 X1-VA
385 | 20230504:105727 238:DOOR CLOSED
386 | 20230504:105716 PLAN 4
387 | 20230504:105716 238:DOOR OPEN
388 | 20230504:105716 247:PROGRAM 1
389 | 20230504:105716 253:MAINS ON
390 | 20230504:105615 011:MAINS SYNC
391 | 20230504:105614 X1-S0:LAMPS OFF
392 | 20230504:105614 000:POWERFAIL
393 | 20230428:143423 X1-S6:CONTROL
394 | 20230428:143412 X1-S5:ALL RED
395 | 20230428:143408 X1-S4:SWITCH ON
396 | 20230428:143353 X1-S3:FLASH
397 | 20230428:143353 X1-S2:FLASH
398 | 20230428:143353 X1-S1:LAMPS OFF
399 | 20230428:143348 X1-VA
400 | 20230428:143347 238:DOOR CLOSED
401 | 20230428:143336 PLAN 4
402 | 20230428:143336 238:DOOR OPEN
403 | 20230428:143336 247:PROGRAM 1
404 | 20230428:143336 253:MAINS ON
405 | 20230428:143237 011:MAINS SYNC
406 | 20230428:143236 X1-S0:LAMPS OFF
407 | 20230428:143236 000:POWERFAIL
408 | 20230315:035318 DET. PB10 ----
409 | 20230315:035106 DET. PB10 ---S
410 | 20221107:175222 X1-S6:CONTROL
411 | 20221107:175211 X1-S5:ALL RED
412 | 20221107:175207 X1-S4:SWITCH ON
413 | 20221107:175152 X1-S3:FLASH
414 | 20221107:174503 X1-S2:FLASH
415 | 20221107:174503 X1-S1:LAMPS OFF
416 | 20221107:174500 X1-S0:LAMPS OFF
417 | 20221107:174500 000:POWERFAIL
418 | 20221107:174500 X1-S2:FLASH
419 | 20221107:174500 X1-S1:LAMPS OFF
420 | 20221107:174457 X1-S0:LAMPS OFF
421 | 20221107:174457 000:POWERFAIL
422 | 20221107:174457 X1-S2:FLASH
423 | 20221107:174457 X1-S1:LAMPS OFF
424 | 20221107:173953 214:AUTO-RESET LOCK
425 | 20221107:173852 202:RESET ALARMS
426 | 20221107:173852 213:AUTO-RESET
427 | 20221107:173751 202:RESET ALARMS
428 | 20221107:173751 213:AUTO-RESET
429 | 20221107:173650 202:RESET ALARMS
430 | 20221107:173650 213:AUTO-RESET
431 | 20221107:173549 202:RESET ALARMS
432 | 20221107:173549 213:AUTO-RESET
433 | 20221107:173448 202:RESET ALARMS
434 | 20221107:173448 213:AUTO-RESET
435 | 20221107:173401 X1-VA
436 | 20221107:173400 238:DOOR CLOSED
437 | 20221107:173349 011:MAINS SYNC
438 | 20221107:173349 001:MAINS LOW
439 | 20221107:173349 000:POWERFAIL
440 | 20221107:173349 PLAN 4
441 | 20221107:173349 238:DOOR OPEN
442 | 20221107:173349 247:PROGRAM 1
443 | 20221107:173349 253:MAINS ON
444 | 20221107:163340 214:AUTO-RESET LOCK
445 | 20221107:163239 202:RESET ALARMS
446 | 20221107:163239 213:AUTO-RESET
447 | 20221107:163138 202:RESET ALARMS
448 | 20221107:163138 213:AUTO-RESET
449 | 20221107:163037 202:RESET ALARMS
450 | 20221107:163037 213:AUTO-RESET
451 | 20221107:162936 202:RESET ALARMS
452 | 20221107:162936 213:AUTO-RESET
453 | 20221107:162835 202:RESET ALARMS
454 | 20221107:162835 213:AUTO-RESET
455 | 20221107:162736 011:MAINS SYNC
456 | 20221107:162735 X1-S0:LAMPS OFF
457 | 20221107:162735 000:POWERFAIL
458 | 20221029:055013 X1-S2:FLASH
459 | 20221029:055000 X1-S5:ALL RED
460 | 20220805:154525 X1-S6:CONTROL
461 | 20220805:154514 X1-S5:ALL RED
462 | 20220805:154510 X1-S4:SWITCH ON
463 | 20220805:154455 X1-S3:FLASH
464 | 20220805:154455 X1-S2:FLASH
465 | 20220805:154455 X1-S1:LAMPS OFF
466 | 20220805:154453 X1-S0:LAMPS OFF
467 | 20220805:154452 001:MAINS LOW
468 | 20220509:123631 X1-S6:CONTROL
469 | 20220509:123620 X1-S5:ALL RED
470 | 20220509:123616 X1-S4:SWITCH ON
471 | 20220509:123601 X1-S3:FLASH
472 | 20220509:123601 X1-S2:FLASH
473 | 20220509:123559 X1-S1:LAMPS OFF
474 | 20220509:123555 X1-VA
475 | 20220509:123555 238:DOOR CLOSED
476 | 20220509:123547 PLAN 4
477 | 20220509:123547 238:DOOR OPEN
478 | 20220509:123547 247:PROGRAM 1
479 | 20220509:123547 253:MAINS ON
480 | 20220509:090909 011:MAINS SYNC
481 | 20220509:090908 X1-S0:LAMPS OFF
482 | 20220509:090908 000:POWERFAIL
483 | 20220420:124134 X1-S6:CONTROL
484 | 20220420:124123 X1-S5:ALL RED
485 | 20220420:124119 X1-S4:SWITCH ON
486 | 20220420:124104 X1-S3:FLASH
487 | 20220420:124104 X1-S2:FLASH
488 | 20220420:124102 X1-S1:LAMPS OFF
489 | 20220420:124059 X1-VA
490 | 20220420:124058 238:DOOR CLOSED
491 | 20220420:124051 PLAN 4
492 | 20220420:124051 238:DOOR OPEN
493 | 20220420:124051 247:PROGRAM 1
494 | 20220420:124051 253:MAINS ON
495 | 20220420:120452 011:MAINS SYNC
496 | 20220420:120452 X1-S0:LAMPS OFF
497 | 20220420:120452 000:POWERFAIL
498 | 20220326:165901 X1-S6:CONTROL
499 | 20220326:165850 X1-S5:ALL RED
500 | 20220326:165846 X1-S4:SWITCH ON
501 | 20220326:165831 X1-S3:FLASH
502 | 20220326:165831 X1-S2:FLASH
503 | 20220326:165831 X1-S1:LAMPS OFF
504 | 20220326:165827 X1-VA
505 | 20220326:165827 238:DOOR CLOSED
506 | 20220326:165821 PLAN 4
507 | 20220326:165821 238:DOOR OPEN
508 | 20220326:165821 247:PROGRAM 1
509 | 20220326:165821 253:MAINS ON
510 | 20220326:165707 X1-S0:LAMPS OFF
511 | 20220326:165707 000:POWERFAIL
512 | 20220217:162424 X1-S6:CONTROL
513 | 20220217:162413 X1-S5:ALL RED
514 | 20220217:162409 X1-S4:SWITCH ON
515 | 20220217:162354 X1-S3:FLASH
516 | 20220217:162354 X1-S2:FLASH
517 | 20220217:162353 X1-S1:LAMPS OFF
518 | 20220217:162350 X1-VA
519 | 20220217:162349 238:DOOR CLOSED
520 | 20220217:162345 PLAN 4
521 | 20220217:162345 238:DOOR OPEN
522 | 20220217:162345 247:PROGRAM 1
523 | 20220217:162345 253:MAINS ON
524 | 20220217:162230 X1-S0:LAMPS OFF
525 | 20220217:162229 000:POWERFAIL
526 | 20220217:162057 X1-S6:CONTROL
527 | 20220217:162047 202:RESET ALARMS
528 | 20220217:162046 X1-S5:ALL RED
529 | 20220217:162042 X1-S4:SWITCH ON
530 | 20220217:162027 X1-S3:FLASH
531 | 20220217:162027 X1-S2:FLASH
532 | 20220217:162026 X1-S1:LAMPS OFF
533 | 20220217:162023 X1-VA
534 | 20220217:162023 238:DOOR CLOSED
535 | 20220217:162019 PLAN 4
536 | 20220217:162019 238:DOOR OPEN
537 | 20220217:162019 247:PROGRAM 1
538 | 20220217:162019 253:MAINS ON
539 | 20220217:161918 X1-S0:LAMPS OFF
540 | 20220217:161918 000:POWERFAIL
541 | 20220205:165008 X1-S6:CONTROL
542 | 20220205:164957 X1-S5:ALL RED
543 | 20220205:164953 X1-S4:SWITCH ON
544 | 20220205:164938 X1-S3:FLASH
545 | 20220205:164938 PLAN 4
546 | 20220205:000122 X1-S2:FLASH
547 | 20220205:000109 X1-S5:ALL RED
548 | 20220205:000109 PLAN 0
549 | 20220202:134439 X1-S6:CONTROL
550 | 20220202:134428 X1-S5:ALL RED
551 | 20220202:134424 X1-S4:SWITCH ON
552 | 20220202:134409 X1-S3:FLASH
553 | 20220202:134409 X1-S2:FLASH
554 | 20220202:134408 X1-S1:LAMPS OFF
555 | 20220202:134408 202:RESET ALARMS
556 | 20220202:134408 213:AUTO-RESET
557 | 20220202:134403 LCM-1-0 OK
558 | 20220202:134313 LCM-1-255 ERR
559 | 20220202:134313 X1-VA
560 | 20220202:134312 238:DOOR CLOSED
561 | 20220202:134312 218:CPU-A/B ID 4410-12208
562 | 20220202:134309 255:FATAL ALARM
563 | 20220202:134309 025:CPU-A COM CPU-B
564 | 20220202:134309 PLAN 4
565 | 20220202:134309 246:RESET PROG PARM
566 | 20220202:134309 238:DOOR OPEN
567 | 20220202:134309 247:PROGRAM 1
568 | 20220202:134309 253:MAINS ON

## parametri
Signalgroup times |  |  |  |  | Application parameters | [5 empty] | Detection settings
ID | Signalgroup | Minimum green | Amber | Red/Amber | ID | Name | Value | Min | Max |  | ID | Detector | DTO | DTC | GAP1 | GAP2 | Max. Unoccupied | Max. occupied
1 | V4 | 5.0 | 2.0 | 2.0 | 1 | WYG_GP10 | 0 | 0 | 9999 |  | 1 | PB10 | 0.0 | 0.0 | 2.0 | 0.0 | 48:00 | 0:10
2 | V10 | 4.0 | 2.0 | 2.0 | 2 | REG_GP10 | 0 | 0 | 9999 |  | Legend
3 | GP10 | 12.0 | 0.0 | 0.0 | 3 | HTTP_SEC | 20 | 10 | 9999 |  | DTO | The time span which the Detector must be occupied before the Detector will report to the Signal Group. [s]
Legend |  |  |  |  | 4 | SYNC_ACTIVE | 1 | 0 | 1 |  | DTC | The time span which a detector must be unoccupied before an existing Detector signal will be withdrawn.
Minimum green | Minimum green time [s] |  |  |  | 5 | Start_day_mode | 700 | 0 | 9999 |  | GAP1 | Time Gap 1 [s]
Amber | Amber time [s] |  |  |  | 6 | Start_night_mode | 2000 | 0 | 9999 |  | GAP2 | Time Gap 2 [s]
Red/Amber | Red/amber time [s] |  |  |  | 7 | Day_mode | 200 | 0 | 9999 |  | Max. Unoccupied | Maximum Unoccupied Time [s]
[5 empty] | 8 | Night_mode | 1200 | 0 | 9999 |  | Max. occupied | Maximum Occupied Time [s]
[5 empty] | 9 | imGP10 | 10 | 0 | 9999
[5 empty] | 10 | ACC_NONC | 2 | 1 | 2
[5 empty] | 11 | TPRES | 30 | 0 | 9999
[5 empty] | 12 | Start_3s_1 | 700 | 0 | 9999
[5 empty] | 13 | End_3s_1 | 900 | 0 | 9999
[5 empty] | 14 | Start_3s_2 | 1700 | 0 | 9999
[5 empty] | 15 | End_3s_2 | 2200 | 0 | 9999
[5 empty] | 16 | GRNCNTEND | 1 | 0 | 9999
Legend
[5 empty] | Value | Value
[5 empty] | Min | Minimum value
[5 empty] | Max | Maximum value
Clearance times | [6 empty] | Darba laiks (nedeļas dienas)
| V4 | V10 | GP10 |  |  |  | Id | Diena | Laiks | Plans
V4 | - | - | 6.0 |  |  |  | 1 | MTWTFSS-- | 0:00 | 54
V10 | - | - | 6.0 |  |  |  | 2 | --------- | 0:00 | 0
GP10 | 5.0 | 5.0 | - |  |  |  | 3 | MTWTFSS1- | 19:00 | 54
[7 empty] | 4 | -----SS1- | 0:00 | 55
[7 empty] | 5 | -----SS1- | 7:00 | 51
[7 empty] | 6 | -----SS1- | 19:00 | 55
[7 empty] | 7 | MTWTF--1- | 0:00 | 57
[7 empty] | 8 | -----SS1- | 0:00 | 58
[7 empty] | 9 | --------- | 0:00 | 1
[7 empty] | 10 | --------- | 0:00 | 1
[7 empty] | 11 | --------- | 0:00 | 1
[7 empty] | 12 | --------- | 0:00 | 1
[7 empty] | 13 | --------- | 0:00 | 1
[7 empty] | 14 | --------- | 0:00 | 1
[7 empty] | 15 | --------- | 0:00 | 1
[7 empty] | 16 | --------- | 0:00 | 1
[7 empty] | 17 | --------- | 0:00 | 1
[7 empty] | 18 | --------- | 0:00 | 1
[7 empty] | 19 | --------- | 0:00 | 1
[7 empty] | 20 | --------- | 0:00 | 1
[7 empty] | 21 | --------- | 0:00 | 1
[7 empty] | 22 | --------- | 0:00 | 1
[7 empty] | 23 | --------- | 0:00 | 1
[7 empty] | 24 | --------- | 0:00 | 1
[7 empty] | 25 | --------- | 0:00 | 1
[7 empty] | 26 | --------- | 0:00 | 1
[7 empty] | 27 | --------- | 0:00 | 1
[7 empty] | 28 | --------- | 0:00 | 1
[7 empty] | 29 | --------- | 0:00 | 1
[7 empty] | 30 | --------- | 0:00 | 1
[7 empty] | 31 | --------- | 0:00 | 1
[7 empty] | 32 | --------- | 0:00 | 1
[7 empty] | 33 | --------- | 0:00 | 1
[7 empty] | 34 | --------- | 0:00 | 1
[7 empty] | 35 | --------- | 0:00 | 1
[7 empty] | 36 | --------- | 0:00 | 1
[7 empty] | 37 | --------- | 0:00 | 1
[7 empty] | 38 | --------- | 0:00 | 1
[7 empty] | 39 | --------- | 0:00 | 1
[7 empty] | 40 | --------- | 0:00 | 1
[7 empty] | 41 | --------- | 0:00 | 1
[7 empty] | 42 | --------- | 0:00 | 1
[7 empty] | 43 | --------- | 0:00 | 1
[7 empty] | 44 | --------- | 0:00 | 1
[7 empty] | 45 | --------- | 0:00 | 1
[7 empty] | 46 | --------- | 0:00 | 1
[7 empty] | 47 | --------- | 0:00 | 1
[7 empty] | 48 | --------- | 0:00 | 1
[7 empty] | 49 | --------- | 0:00 | 1
[7 empty] | 50 | --------- | 0:00 | 1
[7 empty] | 51 | --------- | 0:00 | 1
[7 empty] | 52 | --------- | 0:00 | 1
[7 empty] | 53 | --------- | 0:00 | 1
[7 empty] | 54 | --------- | 0:00 | 1
[7 empty] | 55 | --------- | 0:00 | 1
[7 empty] | 56 | --------- | 0:00 | 1
[7 empty] | 57 | --------- | 0:00 | 1
[7 empty] | 58 | --------- | 0:00 | 1
[7 empty] | 59 | --------- | 0:00 | 1
[7 empty] | 60 | --------- | 0:00 | 1
[7 empty] | 61 | --------- | 0:00 | 1
[7 empty] | 62 | --------- | 0:00 | 1
[7 empty] | 63 | --------- | 0:00 | 1
[7 empty] | 64 | --------- | 0:00 | 1

## timing 1-24
Timingset parameters (1..8) | [12 empty] | Timingset parameters (9..16)
ID | Name | Default | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Min | Max | ID | Name | Default | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Min | Max
1 | Cycle | 1 | 55 | 65 | 75 | 81 | 76 | 81 | 75 | 90 | 1 | 9999 | 1 | Cycle | 1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 1 | 9999
2 | Offset | 0 | 0 | 0 | 39 | 0 | 0 | 0 | 39 | 39 | 0 | 9999 | 2 | Offset | 0 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0 | 9999
3 | MaxExt | 0 | 30 | 35 | 40 | 41 | 40 | 41 | 33 | 45 | 0 | 9999 | 3 | MaxExt | 0 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0 | 9999
4 | F1 | 0 | 18 | 28 | 38 | 50 | 39 | 50 | 43 | 58 | 0 | 9999 | 4 | F1 | 0 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0 | 9999
5 | F2 | 0 | 21 | 21 | 21 | 15 | 21 | 15 | 15 | 15 | 0 | 9999 | 5 | F2 | 0 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | -1 | 0 | 9999
Legend | [12 empty] | Legend
Default | Default value | [11 empty] | Default | Default value
2025-08-01 | Value (-1 = default value) | [11 empty] | 2016-09-01 | Value (-1 = default value)
Min | Minimum value | [11 empty] | Min | Minimum value
Max | Maximum value | [11 empty] | Max | Maximum value
Timingset parameters (17..24)
ID | Name | Default | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | Min | Max
1 | Cycle | 1 | [8 empty] | 1 | 9999 | bar: 17 to 24
2 | Offset | 0 | [8 empty] | 0 | 9999 | bar: 17 to 24
3 | MaxExt | 0 | [8 empty] | 0 | 9999 | bar: 17 to 24
4 | F1 | 0 | [8 empty] | 0 | 9999 | bar: 17 to 24
5 | F2 | 0 | [8 empty] | 0 | 9999 | bar: 17 to 24
Legend
Default | Default value
17 - 24 | Value (-1 = default value)
Min | Minimum value
Max | Maximum value

## service
System state |  | Module state |  | Program versions |  | Network configuration |  | LCM state
Date/Time | 2025-11-04 / 12:26:10 | ID | Module | Intersection | Jelgava: Atmodas / Astera pareja | CCS telephone |  | ID | Configuration | State | Version | BMAINS | VMAINS
CPU load | R=10 L=0% | 1 | SOLAR-1 | V-number | V14410 | CCS telephone (2) |  | 1 | RRAG 42V | OK (0x11) | 12 | 203 | 1
Mains voltage | 46 volt / 50.0 Hz | 2 | MMI-1 | VRI Id | 4410 | CCS IP address | 0.0.0.0
Mains voltage 2 | 0 volt | 3 | LCM-1 |  |  | VRI IP address | 0.0.0.0
Temperature (CPU) | 23 degrees | 4 | IO1616-1 | Configurator : 1.5.009
System voltage | 23.5 volt |  |  | Environment : 1.5.009 (BuildNr. 28973-branch) |  | Ethernet configuration
CPU voltage | 3.36 volt |  |  | Created at : 2/2/2022 1:36:46 PM |  | IP address | 10.192.1.76
|  |  |  | Compiled at : 2/2/2022 1:36:53 PM |  | Subnet mask | 255.255.255.0
Default gateway
|  |  |  | APPL | 2017-06-26/000 | MAC address | 00:04:cc:05:16:8b
|  |  |  | CPUA | 2013-03-13/119
|  |  |  | CPUB | 2015-03-17/100
|  |  |  | XLIB | 2011-01-10/657
|  |  |  | BSP | 2013-03-13/313
|  |  |  | FIRMB | xxxx-xx-xx/200
|  |  |  | UCM | xxxx-xx-xx/006
|  |  |  | SRM2 | 2008-10-31/127
|  |  |  | HTTP | 2007-08-23/003

## state
Detectors | [7 empty] | Lamps
ID | Detector | Occupied | Time | Fault | Fault(his) | Count | SWICO | ID | Lamp | State | Faults | Current | Voltage | Power [W] | Auto | REF1 | REF2
1 | PB10 | 0 | 190 | ---- | ---- | 25577 | - | 1 | V4R1 | OK | 0 | 0 | 0 | 24 | 0 | 2 | 0
[8 empty] | 2 | V10R1 | OK | 0 | 0 | 0 | 25 | 0 | 2 | 0
[8 empty] | 3 | GP10R1 | OK | 0 | 1 | 1 | 27 | 0 | 2 | 0
[8 empty] | 4 | V4A1 | OK | 0 | 0 | 0 | 26 | 0 | 2 | 0
[8 empty] | 5 | V4R1L | OK | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 6 | V10R1L | OK | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 7 | GP10R1L | OK | 0 | 1 | 1 | 0 | 0 | 0 | 0
[8 empty] | 8 | V10A1 | OK | 0 | 0 | 0 | 26 | 0 | 2 | 0
[8 empty] | 9 | V4G1 | OK | 0 | 1 | 1 | 22 | 0 | 2 | 0
[8 empty] | 10 | V10G1 | OK | 0 | 1 | 1 | 22 | 0 | 2 | 0
[8 empty] | 11 | GP10G1 | OK | 0 | 0 | 0 | 21 | 0 | 2 | 0